## Slide 1: SSV on I-Class System
The SSV instructions are for a system with 4 events
There are only 3 event switches on an I-Class system
  SM FTN/FL– 0 events
  I-Class BSM – 3 events
Event 4 is on for all valve positions
  Event 4 would have connected to position 1 on the valve connector
Short Position 1 on the valve connector to ground
1
2
3
4
5
6
G
BSM connector 1
BSM connector 2
Switch 1
Switch 1
Switch 2
Switch 2
Switch 3
Switch 3
Ground